TEMPTACION Exposed Auto Temperature Shower Mixer

FFAS4950-709500BC0

FEATURES

- A grade brass, strong and durable

- High quality THM valve for utmost precision, with Anti-scald button

- 90°Ceramic disc valve for longer usage and  tested = 500,000 times

- Without shower kits

- With normal packaging

Flow rate @ 0.1MPa: 13 L/min for shower out

SPECIFICATIONS

Exposed bath & shower THM mixer

2-handles (temperature & Diverter)

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  2.2kg /set

Product net weight:  1.95kg /set

STANDARDS CRITERIA

QB 2806-2017

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING