

Neo Modern



One Piece Toilet

TF-2531

 **FEATURES**

* Double Vortex Washdown
* Water Saving
* Slow Closing Seat & Cover, Comfort Curve Seat
* Comfort Clean Glaze

**SPECIFICATIONS**

Flushing Type: Dual Flush 3/4.2 Litres per flush

Push Button: Top push

Roughing in : S-trap 305mm/P-trap 190mm

Bowl shape: Elongate

Overall Dimensions: W374xL740xH730mm

Height to rim: 390 mm

Material: Vitreous China

**SHIPPING WEIGHT**

**DIMENSIONAL DRAWING**

Net Weight: 48 KG

Gross Weight: 59 KG

**INCLUDED COMPONENTS**

L-shape floor fixing set 80 mm

Installation manual

**STANDARDS CRITERIA**

TIS 792-2001

EN 997-2012

MS 1522-2011

SNI 03-0797-2006

PNS156-2010

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice; we assume no liability for the use of obsolete dimensions.