Winston

Exposed B&S Mono (Cross Handle)

FFAST603-6T1500BT0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested ＞300,000 times

- Stainless steel escutcheon, mirror polish

- Without aerator & shower

- With blister packaging

- Flow rate @ 0.1MPa: 10.9 L/min for spout outlet

- Flow rate @ 0.1MPa: 12.3 L/min for shower outlet

SPECIFICATIONS

1-Hole Installation: cross handle (Cold)

Spout Reach: 98 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product weight: 0.65 kg

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING